## Startup Notification
Collaborative Solution Development Matrix | [5 empty] | Color Key -
MIC- Parameter Limited Schedules | [6 empty] | Agree
Revision 3 - Updated 9/30/11 | [6 empty] | Generator Position
Market Monitor
Consensus Design Criteria (or Component) |  | Consensus Importance level |  | Brainstorm Potential Component Solutions
|  |  | Status Quo | A | B | C | D | E | F | Package 1 | Package 2
1 | What is appropriate cost based parameter when price schedule parameters are more flexible than cost schedule parameters? |  | Cost-based offers not limited to parameters in price-based offers | Cost-based schedule should reflect most flexible parameter | No change to current methodology. (price schedules are not subject to parameter limits) |  |  |  |  | B | A
2 | Price schedules are not governed by parameter limited schedule rules. |  | Price schedules not governed by PLS rules. | PJM dispatch tool should be more forward looking in order to capture the operation of baseload units that were not designed to cycle daily. (7 days) | Both cost and price schedules should be governed by parameter limited schedule rules | No change to current methodology. (price schedules are not subject to parameter limits) |  |  |  | A, C | A, B
3 | Exception process is twice yearly. | High | Twice per Year (April and October) | Continue twice yearly process | Make process annual. | Grandfather exceptions based on 2006 offer data (do not re-evaluate yearly). | Allow longer term than annual exceptions. | Exceptions granted and approved for 2 consecutive periods continue to be approved unless unit conditions change. |  | B, C, D, E | B, C, D
4 | Define daily exception process. |  | Generators request daily exceptions subject to review by PJM and the MMU. | Remove daily exceptions | Maximum of 7 days with same (daily) exception during year. | Maximum of 7 days or 3 starts during year. | Maximum of 7 days with same daily exception for any any occurrence of a daily exception, renewable to a maximum of 30 days, after which go to annual exception process. | Any daily exception that is not approved or denied by the MMU or PJM shall be considered conditionally approved. Conditionally approved allows the resource owner to recover costs and operate their unit to their submitted daily exception parameters. If a daily exception is denied by the MMU, PJM has the right to overrule and agree to the daily exception. In the event PJM denies, the unit owner retains the right to utilize the dispute resolution process to recoup opportunity costs incurred. | Status Quo | E, F | B, D
5 | Sub-critical coal parameters may not reflect current operating experience |  | MDT = 9 Hr or less MRT = 15 Hr or less MDS = 1 or more MWS = 5 or more TDR = 2 or more | Re-evaluate sub-critical coal parameters. (Reduce maximum weekly starts and increase minimum down times) | Keep current sub-critical coal parameters | PJM should examine longer term scheduling decisions to reflect economic weekly operation. | MDT = 48 Hr or less MRT = 15 Hr or less MDS = 1 or more MWS = 1 or more TDR = 2 or more |  |  | A, C | A, C
6 | Medium-Large and Large Frame CTs parameters may not reflect current operating experience. |  | MDT =3 Hr or less MRT = 5 Hr or less MDS = 2 or more MWS = 14 or more TDR = 1 or more | Re-evaluate CT parameters. (Increase maximum daily and weekly starts, and decrease minimum down times) | Keep current CT parameters. | Re-evaluate CT parameters. (Consider operational cost shifts resulting from those parameter changes) |  |  |  | B, C | A
7 | Pre-1985 and Post-1985 oil/gas steam units parameters may not reflect current operating experience. | Low | Pre 1985 MDT = 7 Hr or less MRT = 8 Hr or less MDS = 1 or more MWS = 7 or more TDR = 3 or more Post 1985 MDT = 3.5 Hr or less MRT = 5.5 Hr or less MDS = 2 or more MWS = 11 or more TDR = 2 or more | Evaluate categories of unit parameters. | Boiler / Turbine capabilities are defined by cycle (sub-critical or super-critical) and not fuel type. "Sub-Critical MDT = 9 Hr or less MRT = 15 Hr or less MDS = 1 or more MWS = 5 or more TDR = 2 or more Super-Critical MDT = 84 Hr or less MRT = 24 Hr or less MDS = 1 or more MWS = 2 or more TDR = 1.5 or more" |  |  |  |  | A | A
8 | TPS test | High | PJM determination of least-cost schedule. | No change to current methodology | Consider modifying determination of least cost schedule to add Minimum Runtime expectation for the contingency when evaluating the lowest cost offer to be selected when the Market Offer (Price) does not pass the TPS test. | Consider modifying determination of least cost schedule to include Minimum Run Time parameter. |  |  |  | A, B | C

## M34 Template
Consensus Design Criteria (or Component) |  | Consensus Importance level | Brainstorm Potential Component Solutions
|  |  | A | B | C | D | E
1 | Design Criteria 1 | Medium | Potential Component Solution 1A | Potential Component Solution 1B
2 | Design Criteria 2 | High | Potential Component Solution 2A | Potential Component Solution 2B | Potential Component Solution 2C | Potential Component Solution 2D | Potential Component Solution 2E
3 | Design Criteria 3 | Medium | Potential Component Solution 3A | Potential Component Solution 3B | Potential Component Solution 3C
4 | Design Criteria 4 | Low | Potential Component Solution 4A | Potential Component Solution 5B
5 | Design Criteria 5 | High | Potential Component Solution 5A | Potential Component Solution 5B | Potential Component Solution 5C | Potential Component Solution 5D
No Decision Criteria are developed, as individuals will defer on the valuation (as to which potential componenet is better and by how much)
Consensus Packaged Solution is 1B/2C/3A/4B/5D
Principal applies to non-consensus decisions (Tier 2), with another package selected as an alternate (e.g. 1A/2B/4A/5C)